## Slide 1: Temperature Detection and Cooling System for Machine Parts
EEE3305-Engineering Research (Embedded Systems) Project
Faculty of Engineering
SLTC Research University

## Slide 2: Introduction Introducing a Smart Temperature Control System designed for industrial applications. Utilizes a DT11 sensor and PIC 16F877A for precise temperature monitoring and an LCD display for real-time data visualization. Integration of advanced features such as PWM-controlled performance reduction and seamless backup machinery activation ensures optimal operational efficiency.

## Slide 3: Key Advantages of the System
Real-time Monitoring: Immediate detection and display of temperature on the LCD enable proactive decision-making.
Precision Cooling: Activation of cooling fans at 31°C prevents overheating, preserving machinery health.
Energy Efficiency: PWM-controlled performance reduction optimizes machine operation, contributing to energy savings.
Reliability: Seamless transition to a backup machine guarantees uninterrupted production even under challenging conditions.
Data Logging: Micro SD card storage facilitates historical temperature data analysis for predictive maintenance.

## Slide 4: Versatile Applications
Industrial Machinery: Ideal for temperature-sensitive machinery in manufacturing and processing industries.
Data Centers: Ensures optimal cooling in data centers, preventing hardware damage and downtime.
Climate Control: Applicable in HVAC systems for maintaining desired temperatures in controlled environments.
Energy Management: Contributes to energy-efficient operations in various industrial settings.
Remote Monitoring: WiFi module allows for remote system shutdown and real-time monitoring, extending its usability across diverse applications.

## Slide 5: Hardware Justification and Interconnection
Hardware Justification:
DT11 Sensor: Offers precise temperature and humidity measurements for accurate monitoring.
PIC 16F877A Microcontroller: Employs timers, interrupts, and PWM signals for intelligent decision-making.
LDR (Light Dependent Resistor): Utilized for analog-to-digital signal input to enhance environmental sensitivity.
8000Hz Crystal: Provides accurate timing for microcontroller operations.
Interconnection:
DT11 sensor feeds data to the PIC 16F877A, initiating responses based on temperature thresholds.
PWM signals dynamically control the primary machine's performance, displayed as "Avail. time" on the LCD.
The ESP32 Wi-Fi module connects to the microcontroller, enabling remote system shutdown and backup machine activation.
Micro SD card stores temperature data for analysis, contributing to long-term monitoring and maintenance.

## Slide 6: Results and Analysis
Results:
Efficient Cooling: First fan activation at 31°C effectively prevents rapid temperature escalation.
Smooth Transition: Gradual performance reduction through PWM ensures a controlled shift to the backup machine at 37°C.
Remote Control: ESP32 Wi-Fi module facilitates system shutdown and second fan activation for remote management.
Data Logging: Micro SD card stores temperature data, allowing for long-term analysis and trend identification.
Analysis:
Enhanced Reliability: Seamless transitions and proactive cooling contribute to increased system reliability.
Energy Optimization: PWM-controlled performance reduction aligns machinery output with thermal conditions, promoting energy efficiency.
Predictive Maintenance: Data logging enables predictive maintenance by identifying trends and potential issues before critical failures.

## Slide 7: Thank You ! Group Members:
M. N. K. M. Bandara. - 21ug0481
S. M. S. M. Bandara. - 21ug0496